## ItemsIntendedForCS
CONSIGNOR’s Letterhead
List of Consigned Items Intended for Consignment
Item No. | Consigned Item(s) | CPR Numbers | Date of Issuance | Date of Validity
(Signature over Printed Name of the Authorized Representative)
Date Signed:____________________

## tblDescription (hidden)
Item No | Description
1 | C3F8 gas (perfluoropropane) Intraocular gas for retina surgery
2 | Octa Perfluorocarbon Liquid 5ml Intraocular liquid for retina surgery
3 | SF6 (Retina Gas) Intraocular gas for retina surgery
4 | Brilliant blue dye - ILM dye 0.7ml Retinal membrane dye used for identification of internal limiting membrane during retinal surgeries
5 | Filter (Regulator for retina gas) Intraocular dye used for retinal membrane staining
6 | Band 42 (with fixation sleeve) Band used for retinal detachment surgeries
7 | Band 240 (with fixation sleeve) Band used for retinal detachment surgeries
8 | Tire/Buckle 277 Band used for total retinal detachment surgeries
9 | Dacryocystorhinostomy (DCR) Intubation Tube Nasolacrimal tube used for dacryocystorhinostomy procedures
10 | Monocanaliculus tube Nasolacrimal tube used for canalicular transecting laceration repairs
11 | Crescent knife (guarded) Knive used for corneal scraping surgeries
12 | Dexamethasone intravitreal implant Intravtireal steroid injection used for the treatment of macular edema from various causes
13 | Gel stent Surgical glaucoma device/implant designed to lower high eye pressure in open-angle glaucoma patients where previous surgical treatment has failed
14 | Foldable, intracapsular intraocular lens implant with compatible disposable injector Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters, in 0.5 incriments with compatible cartridge or injector for implantation
15 | Bifocal intraocular lens Intraocular lenses used for cataract surgeries. This is a bifocal intraocular lenses with intermediate and distance vision correction
16 | Foldable, intracapsular, toric intraocular lens implant with compatible disposable cartidge or injector Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters; and cylindrical power of at least 1.5D to at least 6.0D, in 0.5 incriments with compatible cartridge or injector for implantation
17 | Foldable, intracapsular intraocular lens implant with compatible disposable injector Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters, in 0.5 incriments with compatible cartridge or injector for implantation
18 | Foldable, intracapsular intraocular lens implant with compatible disposable injector Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters, in 0.5 incriments with compatible cartridge or injector for implantation
19 | Foldable, intracapsular, toric intraocular lens implant Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters; and cylindrical power of at least 1.5D to at least 6.0D, in 0.5 incriments with compatible cartridge or injector for implantation
20 | Foldable, intracapsular, trifocal intraocular lens implant Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters; and cylindrical power of at least 1.5D to at least 6.0D, in 0.5 incriments with compatible cartridge or injector for implantation
21 | Minimally invasive glaucoma device inject Trabecular Micro Bypass System Minimally invasive glaucoma drainage device used for mild to moderate glaucoma
22 | Dual Blade Minimally invasive glaucoma drainage device used for mild to moderate open angle glaucoma
23 | Ahmed Glaucoma Valves / Glaucoma drainage device with valve Glaucoma drainage device used for moderate to advanced glaucoma refractory of routine medical management and trabeculectomy
24 | Molteno Glaucoma Drainage Device (185mm/245mm) / Glaucoma drainage device with valve Glaucoma drainage device used for moderate to advanced glaucoma refractory of routine medical management and trabeculectomy
25 | Foldable, intracapsular intraocular lens implant with compatible disposable injector Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters, in 0.5 incriments with compatible cartridge or injector for implantation
26 | Foldable, intracapsular, toric intraocular lens implant with compatible disposable cartidge or injector Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters; and cylindrical power of at least 1.5D to at least 6.0D, in 0.5 incriments with compatible cartridge or injector for implantation
27 | Glaucoma Shunt Filtering Device Minimally invasive glaucoma drainage device used for mild to moderate glaucoma
28 | Foldable, intracapsular intraocular lens implant with compatible disposable injector Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters, in 0.5 incriments with compatible cartridge or injector for implantation
29 | Foldable, intracapsular, multifocal intraocular lens implant without compatible disposable cartridge or injector Fodlable, hydrophilic or hydrophobic, dual haptic, acrylic intraocular lens implant with spherical power of at least 0 diopters to at least 25 D, in at least 0.5 D incriments
30 | Foldable, intracapsular, toric intraocular lens implant with compatible disposable cartidge or injector Foldable, hydrophilic or hydrophobic, dual haptic, intraocular lens implant with spherical power range of at least 0 diopters to at least 30 diopters; and cylindrical power of at least 1.5D to at least 6.0D, in 0.5 incriments with compatible cartridge or injector for implantation
31 | Foldable, intracapsular, multifocal intraocular lens implant without compatible disposable cartridge or injector Fodlable, hydrophilic or hydrophobic, dual haptic, acrylic intraocular lens implant with spherical power of at least 0 diopters to at least 25 D, in at least 0.5 D incriments
32 | Keratome knife, 2.75mm 2.75mm angled knife for ocular surgery
33 | Keratome knife, 15 degree 15 degree angled blade for ocular surgery
34 | Keratome knife, 2.2mm 2.2mm angled knife for ocular surgery
35 | Ocular viscoelastic devices Cohesive or dispersive viscoelastic device intended for anterior chamber reformation in intraocular surgery; in a syringe injector with cannula
36 | Glaucoma Shunt Filtering Device Minimally invasive glaucoma drainage device used for mild to moderate glaucoma
37 | Artificial tears eye drops
38 | Lubricating gel